## web-table
Attack/Campaign Name | Targetted Infrastructure | Year | Sophistication | Scale | Country | Attacker Type | Attacker Name | Initial Access | Malware | Impact | Mitigations | Story | Reference1 | Reference2
PLC password change | Manufacturing (Pulp and Paper) | 1988 | Low | Specific | Canada | Insider | Disgruntled employee (not officially named) | Insider Access | Not used | Loss of Availability | Multi-factor Authentication, Password Policies, Access Management | One of the first reported cases of plant floor hacking occurred in 1988 on an Allen-Bradley DH+, which was used by an angry worker to modify a different department's PLC-5. The individual changed the password to something obscene, blocking all maintenance access to the system. It was believed that the employee found the original password on a post-it note. | https://www.risidata.com/Database/Detail/plc-password-change
Salt River Project hack | Energy, Water | 1994 | Medium | Specific | US | Hacker | Lane Jarret Davis | External Remote Services | Not used | Loss of Productivity and Revenue , Theft of Operational Information | Multi-factor Authentication, Network Intrusion Prevention, Access Management | Between July 8th and August 31st, 1994, Lane Jarrett Davis gained unauthorized access to the Salt River Project (SRP) computer network via a dialup modem so he could have access to billing information. He installed a back door into the system giving him access at a later time. At the time, SRP’s water SCADA system operated a 131-mile canal system, which was used to deliver water to customers in the Phoenix metropolitan area. Mr. Davis had at least one 5-hour session on mission critical systems which controlled the canals. Data vulnerable during the intrusions included water and power monitoring and delivery, financial, and customer and personal information. Data taken and/or altered included login and password files, computer system log files, and “root” privileges. Furthermore, a Doppler-radar research project between the SRP and National Weather Service’s National Severe Storms Lab was also accessed. SRP estimated losses at $40,000, not including lost productivity due to the compromise. | https://pdfs.semanticscholar.org/1f8f/a134eca5fe92143bd154ec9f6446b38b63ae.pdf
Maroochy Water Attack | Water | 2000 | Medium | Regional | Australia | Insider | Vitek Boden | Wireless Compromise, External Remote Services | Not used | Damage to Property, Denial of Control, Denial of View | Network Segmentation, Access Management, Multi-factor Authentication | In a significant cyberattack on Maroochy Water Services in Australia, Vitek Boden, a former contractor, conducted a series of attacks between February and April 2000. Using stolen radio equipment and a laptop, Boden accessed the SCADA system controlling the sewage infrastructure, issuing commands that resulted in 800,000 liters of raw sewage spilling into local environments, including parks and a hotel. This attack caused severe environmental damage, killing marine life and producing a strong stench. Boden's actions highlighted vulnerabilities in industrial control systems, especially regarding inadequate security policies, lack of monitoring, and insufficient control over contractor access. He was eventually caught and sentenced to two years in jail. | https://www.mitre.org/sites/default/files/pdf/08_1145.pdf
Cal - ISO electricity flow control system hack | Energy | 2001 | Medium | Specific | US | Hackers | Unknown | External Remote Services | Not used | Negligible Impact | Network Intrusion Prevention, Multi-factor Authentication, Access Management | A computer system that controls much of the flow of electricity across California was under siege from hackers for at least 17 days during the height of the state's ongoing power crisis, the Los Angeles Times reported Saturday. The cyber attack, while apparently limited, exposed security lapses in the system that the California Independent Systems Operator (Cal-ISO) uses to oversee most of the state's massive electricity transmission grid and connect to the grid for the Western United States. While some familiar with the breach said hackers came close to gaining access to key parts of the system and could have interrupted the movement of electricity around the power-hungry state, but it was quickly remedied before the situation. | https://www.deseret.com/2001/6/10/19590720/hackers-hit-california-power-grid-computers/
Process control server infected with Nimda | Food | 2001 | Low | Specific | US | Unknown | Unknown | External Remote Services | Worm (Nimbda) | Loss of Productivity and Revenue | Antivirus/Antimalware, Network Segmentation, Remote Access Management | A major manufacturing company had implemented a complete anti-virus program for their IT environment and the access to the IT systems was restricted to approved gateways and firewalls. However, the process control environment was under the control of a different department, which did not implement anti-virus protection or controlled access. Late one night, a control engineer working on a production problem logged in from home. He dialed directly into one of the process control servers, something that had been done countless times before. However, in this particular case, his personal PC at home had been infected with the Nimda virus. It did not take long for the virus to spread across the production environment, which was not prepared for this type of threat. | https://www.risidata.com/Database/Detail/nimda-impact-on-manufacturing-system
Ski gondola control system shutdown | Transport | 2002 | Low | Specific | US | Insider | 19-year-old woman (not officially named) | Insider Access | Not used | Loss of Availability, Loss of Productivity and Revenue | Access Management, Human User Authentication, Authorization Enforcement | Alisha Sult, a 19-year-old operator at the Telluride Ski Resort's gondola system in Colorado, was arrested for allegedly tampering with the control system, causing 33 shutdowns over three days during the resort's busiest week of the winter season. The shutdowns, mostly lasting under a minute, occurred from December 26 to 28, 2002. Although there were no evacuations or immediate danger to passengers, snowmobiles had to transport 40 people from a mountaintop restaurant during a 1-hour and 20-minute shutdown on December 27. Sult faced felony charges for endangering public transportation and was released on bail pending trial. | https://www.ourmidland.com/news/article/Gondola-Operator-Arrested-in-Colorado-7163966.php
Hackers crash controller via web service | Manufacturing (Electronic) | 2002 | Medium | Specific | UK | Hackers | Unknown, but hackers from China suspected | Exploit Public-Facing Application | Not used | Denial of Control, Loss of Productivity and Revenue | Filter Network Traffic, Exploit Protection, Update Software | Hackers exploited vulnerabilities in the control systems of an electronic manufacturing company in the United Kingdom. The attacks involved opening connections to the device without closing them, which exhausted all available connections, and sending a web page with malicious JavaScript that caused the controller to reset, turning off all outputs. This resulted in the ethernet port becoming unavailable and the controller repeatedly resetting. The company's engineers spent 3-4 weeks identifying and fixing these issues, including updating device code to close connections properly and collaborating with a TCP stack vendor for additional fixes. Enhanced internal firewalls and collaboration with IT departments were recommended to prevent such attacks in the future. | https://www.risidata.com/Database/Detail/hackers-crash-controller-via-web-service
Blaster Infected HMI infects chemical plant DCS | Chemicals | 2003 | Low | Specific | Unknown | Unknown | Unknown | Supply Chain Compromise | Worm (Blaster) | Negligible Impact | Update Software, Antivirus/Antimalware, Access Management | A vendor/contractor built a new HMI on their own premises & network and did not install all appropriate security patches. The HMI became infected with a worm (possibly blaster). The HMI was walked past the PCN firewall and was connected to the PCN when it infected other machines on the DCS. | https://www.risidata.com/Database/Search_Results/search&keywords=Infected+New+HMI+Infects+Chemical+Plant+DCS/
Nachi infects Advanced process control servers | Chemicals | 2003 | Low | Specific | France | Unknown | Unknown | Unknown | Worm (Nachi) | Loss of Productivity and Revenue | Antivirus/Antimalware, Update Software, Network Segmentation | Staff noticed that the Advanced Process Controls (APC) Servers were getting slower and slower. Investigators found Nachi virus on 8 APCs (running Windows 2000) and disconnected these servers from production network for 5 hours. | https://www.risidata.com/Database/Detail/nachi-worm-on-advanced-process-control-servers
Water control system infected with a virus | Water | 2003 | Low | Specific | Australia | Unknown | Unknown | Unknown | Worm (Blaster) | Negligible Impact | Update Software, Antivirus/Antimalware, Vulnerability Scanning | An initial systems audit was conducted on all systems from HMI through to control electronics to establish system baseline status for each telemetry control system. Water Control system was performing poorly and database errors were suspected. System patches were not current and virus software version was out of date. The system crashed while checking performance issues. The Blaster virus was then discovered. | https://www.risidata.com/Database/Detail/baseline-audit-uncovers-virus-in-water-control-system
Blaster infects onshore oil production SCADA systems | Chemicals (Petrochemicals) | 2003 | Low | Specific | US | Unknown | Unknown | Unknown | Worm (Blaster) | Negligible Impact | Antivirus/Antimalware, Update Software, Network Segmentation | The SCADA system that controls an onshore oil production system was infected by the Blaster worm. This infection seemed to cause no impact on operations and was only noticed by IT security personnel who were trying to clear the corporate network of the worm infection. | https://www.risidata.com/Database/Search_Results/search&keywords=Blaster+Infects+Onshore+Oil+Production+Control+System/
Paper company control system hit by Blaster | Manufacturing (Pulp and Paper) | 2003 | Low | Specific | US | Unknown | Unknown | Unknown | Worm (Blaster) | Negligible Impact | Update Software, Antivirus/Antimalware | Sappi Fine Paper was using Nessus and ISS Internet Scanner for vulnerability testing and applying all patches to their systems, yet they still encountered vulnerabilities, with one machine having 40 reported issues. The ISO recognized the need to improve their security measures, but then the Blaster worm struck, infecting the process control systems. | https://www.risidata.com/Database/Detail/paper-company-control-system-hit-by-blaster
Slammer infects SCADA network at Davis-Besse nuclear plant | Nuclear | 2003 | Low | Specific | US | Unknown | Unknown | Exploitation of Remote Services | Worm (Slammer) | Denial of View, Loss of View | Update Software, Network Segmentation, Firewall Protection | In January 2003, the Davis-Besse nuclear power plant in Ohio was infected by the Slammer worm, which reached Davis-Besse after infecting a consultant's network and then the corporate network of First Energy Nuclear, which operates the plant. The corporate network, lacking a firewall, was directly connected to the plant's SCADA system, allowing the worm to spread. The worm generated excessive traffic, overwhelming the system and rendering the safety parameter display system (SPDS) unavailable for nearly five hours. A patch for the SQL 2000 vulnerability, released six months earlier, would have prevented the infection, but neither the corporate network nor the SCADA system had been patched. | https://itlaw.fandom.com/wiki/Davis-Besse_nuclear_power_plant | https://www.industrialcybersecuritypulse.com/threats-vulnerabilities/throwback-attack-the-slammer-worm-hits-davis-besse-nuclear-plant/
DCS aystems in the UK infected by Slammer worm | Chemicals | 2003 | Low | Specific | UK | Unknown | Unknown | Transient Cyber Asset | Worm (Slammer) | Negligible Impact | Update Software, Firewall Protection, Access Management | A corporate laptop user installed software, unaware that it included an unpatched version of msSQL. Sometime later the user connected PC to the Internet (in violation of company policy) to access email via an ISP. SQLslammer infected the internet connected machine. The user then brought the infected machine into the office and connected to the network, causing a small outbreak of the SQLslammer worm within the corporate network. An unfirewalled data acquisition server, a control system and a development control system became infected with SQLslammer worm and had to be removed from the network to prevent further infection. | https://www.risidata.com/Database/Detail/slammer-infected-laptop-shuts-down-dcs
SCADA network in the US infected by Slammer worm | Energy | 2003 | Low | Specific | US | Unknown | Unknown | Exploitation of Remote Services | Worm (Slammer) | Denial of View | Update Software, Network Segmentation, Access Management | A server on the utility's control center LAN running SQL was not patched. The worm apparently migrated through the corporate networks until it finally reached the critical SCADA network via a remote computer through a VPN connection. In the control network it propagated and blocked SCADA traffic. | https://www.risidata.com/Database/Detail/power-industry-slammer-1
Trojan found on a water SCADA system in Canada | Water | 2004 | Low | Specific | Canada | Unknown | Unknown | Drive-by Compromise | Trojan (Unkown) | Negligible Impact | Antivirus/Antimalware, Network Segmentation, Filter Network Traffic | During a security audit of a Canadian water SCADA system, a trojan backdoor was discovered on a human-machine interface (HMI) computer. The trojan included a keylogger and a reverse tunnel to an external website, believed to have been introduced through an operator's use of external email websites. Although the firewall blocked the reverse tunnel, it did not prevent the keylogger, which used SMTP for data transport. The HMI was part of the regional government's enterprise network, with multiple Internet access points. No impact was reported, and subsequent actions included modifying firewalls to block HTTP access from SCADA systems and implementing antivirus measures across all SCADA computers. | https://www.risidata.com/Database/Detail/trojan-backdoor-on-water-scada-system
Drilling control system and HMI infected with a worm | Chemicals | 2004 | Low | Specific | UK | Unknown | Unknown | Supply Chain Compromise | Worm (Unkown) | Negligible Impact | Antivirus/Antimalware, Update Software, Software Configuration | A new HMI machine was introduced to a drilling network by a third-party company without antivirus software and was not fully patched, violating standard procedures. Other machines on the network also lacked the latest patches. The HMI became infected with a worm, which then spread to the control systems, causing a loss of view in the whole drilling control network. | https://www.risidata.com/Database/Search_Results/search&keywords=Worm+attack+on+Drilling+Control+system/
DCS systems in a chemical plant infected with Sasser worm | Chemicals | 2004 | Low | Specific | US | Unknown | Unknown | Exploitation of Remote Services | Worm (Sasser) | Loss of Availability , Loss of View, Loss of Control | Antivirus/Antimalware, Filter Network Traffic, Update Software | The Sasser worm infected the DCS of a major chemicals plant. The worm infection came through the firewall on port 445 which was needed for the PHD authentication connection. The worm caused loss of view and loss of control for the whole of the DCS control system for the entire plant for over 5 hours. | https://www.risidata.com/Database/Detail/sasser-worm-causes-loss-of-view-in-chemicals-plant
Trojan found on SCADA server in Russia | Manufacturing (General) | 2006 | Medium | Specific | Russia | Unknown | Unknown | Replication Through Removable Media | Trojan (Generic Backdoor.k) | Loss of Productivity and Revenue | Antivirus/Antimalware, Limit Hardware Installation, Data Loss Prevention | A redundant SCADA server pair in a Russian general manufacturing plant experienced communication issues. During troubleshooting, antivirus software revealed multiple instances of the 'Generic Backdoor.k' trojan on one server, which was then cleaned. The USB hard disk used for creating hard drive images was also found to be infected, though it was unclear if this was the source of the trojan as the plant had just been commissioned and used removable media for modifications. The incident led to a ban on removable media on-site and required several engineers to test all machines on the LAN. | https://www.risidata.com/Database/Detail/trojan_found_on_scada_server
Hack of L.A.'s traffic grid | Transport | 2006 | Medium | Regional | US | Hackers | Gabriel Murillo, Kartik Patel | Unknown | Not used | Manipulation of Control, Loss of Productivity and Revenue | Access Management, Authorization Enforcement, User Account Management | Two Los Angeles traffic engineers, Gabriel Murillo and Kartik Patel, hacked into the city's traffic signal system during a labor dispute in 2006. They manipulated the signal lights at four major intersections, including one at Los Angeles International Airport, causing prolonged red lights and significant traffic congestion. Despite the disruption, no accidents were reported. The hack was executed by altering computer codes to prevent reprogramming of the signals for four days. Murillo and Patel were charged with unauthorized access and disruption of computer services, resulting in probation, fines, and community service. | https://www.nbclosangeles.com/news/engineers_plead_guilty_to_illegally_shutting_down_traffic_signals/2095678/ | https://www.vice.com/en/article/how-las-traffic-system-got-hacked-5886b6f8f672c2456362f36b/
Compromise of a Harrisburg water utility SCADA network | Water | 2006 | Medium | Specific | US | Unknown | Unknown | External Remote Services | Spyware (Unkown), Trojan (Unkown) | Negligible Impact | Antivirus/Antimalware, User Training, Network Segmentation | In October 2006, the Harrisburg, Pennsylvania water treatment facility's SCADA system was compromised through an employee's infected laptop. The infection likely occurred via a drive-by compromise while browsing external websites, leading to the installation of malware and spyware. Although the attackers did not intentionally target the water plant, the malware raised concerns about potential operational disruptions, such as altering chlorine levels. The FBI investigated the incident, noting the attackers likely aimed to use the compromised computer for broader malicious activities rather than directly harming the water plant. | https://www.exida.com/images/uploads/Pennsylvania_Water_Hack_Brings_Total_to_Ten.pdf
California canal system hack | Water | 2007 | Low | Specific | US | Insider | Michael Keehn | Insider Access | Unknown | Loss of Availability, Loss of Productivity and Revenue | Access Management, Authorization Enforcement, User Account Management | Michael Keehn, a former electrical supervisor with the Tehama Colusa Canal Authority (TCAA) in California, was charged in 2007 with installing unauthorised software on the SCADA system used to divert water from the Sacramento River. Keehn allegedly accessed and damaged the protected computer system around August 15, leading to potential operational disruptions. The unauthorised software installation caused more than $5,000 in damages. Despite the breach, the canal systems could still operate manually if the SCADA system was offline. Keehn faces charges of computer fraud, which could result in up to 10 years in prison. | https://www.risidata.com/Database/Detail/California_Canal_System_Hack
Lodz tram system hack | Transport | 2008 | Low | Specific | Poland | Hacker | 14-year-old boy (not officially named) | Wireless Compromise | Not used | Manipulation of Control | Access Management, Mechanical Protection Layers, Authorization Enforcement | A 14-year-old boy in Lodz, Poland, used a modified television remote control to take over the city's tram system, causing four derailments. By trespassing at tram depots, he gathered the information and equipment needed to build an infra-red device capable of controlling tram switches. The boy treated the tram system like a giant train set, switching tracks multiple times, which led to trams jumping tracks and making emergency stops, injuring passengers. He will face charges of endangering public safety in a juvenile court. | https://www.darkreading.com/perimeter/teenage-hacker-takes-over-polish-tram-system
Hacker disabled offshore oil platforms' leak detection system | Chemicals (Petrochemicals) | 2008 | Low | Specific | US | Hacker | Mario Azar | Insider Access | Not used | Denial of View, Loss of View, Loss of Availability | Access Management, Authorization Enforcement, User Account Management | In 2008, Mario Azar, a disgruntled employee, accessed and temporarily disabled the leak detection system for three offshore oil platforms off the Southern California coast. Although there were no oil leaks, the system shutdown posed significant risks. Azar pleaded guilty to intentionally damaging a computer system and initially faced up to ten years in prison. In April 2010, he was sentenced to five years of probation, ordered to pay a $100,000 special assessment, $50,000 in restitution, and complete 200 hours of community service. | https://www.wired.com/2009/03/feds-hacker-dis/ | https://news.softpedia.com/news/Man-Pleads-Guilty-to-Damaging-Oil-Leak-Detection-System-122640.shtml
Attack on hospital HVAC control system | Health | 2009 | Low | Specific | US | Hacker | McGraw aka Ghost Exodus | Insider Access | Unknown | Damage to Property | ccess Management, Authorization Enforcement, User Account Management | Jesse William McGraw, also known as Ghost Exodus, a security guard at the Carrell Clinic in Dallas, Texas, installed malicious code on a computer controlling the clinic's HVAC system. This act compromised the system and posed a threat to public health by potentially impairing medical services. McGraw, who led the hacker group "Electronik Tribulation Army," boasted of his exploits online and planned further cyberattacks for July 4, 2009, which he referred to as "Devil's Day." | https://www.justice.gov/archive/usao/txn/PressRel09/mcgraw_cyber_indict_pr.html | https://www.wired.com/2011/03/ghostexodus-2/
Sality virus infects OPC servers and historians | Chemicals | 2009 | Low | Specific | South Africa | Unknown | Unknown | Unknown | Virus (Sality) | Loss of Availability | Antivirus/Antimalware, Software Configuration, Limit Hardware Installation | In 2004, following a hardware and software upgrade of four OPC client machines, the OPC services stopped running on two OPC servers. The client upgrades were aborted, and the old machines were reinstalled, but the OPC servers could not be rebooted. An investigation revealed the PE_SALITY virus on both servers. As a result, operators ran the plant "blind" for over eight hours while engineering rebuilt the servers. Subsequently, several changes were implemented: no third-party software was to be installed on any server without vendor approval, no server could be integrated into the network without a virus check, remote access was disallowed, and only dedicated memory sticks were to be used in servers. | https://www.risidata.com/index.php?/Database/Detail/pc_sality.en_virus_infects_dcs_servers_and_historians
Stuxnet Natanz attack | Nuclear | 2010 | High | Specific, but part of Stuxnet campaign in Iran | Iran | APT | NSA, CIA and Israeli intelligence | Replication Through Removable Media | ICS-Specialised Malware (Stuxnet) | Damage to property, Manipulation of Control, Manipulation of View | Antivirus/Antimalware, Update Software, Exploit Protection | Stuxnet, a sophisticated computer worm discovered in 2010, was developed by U.S. and Israeli intelligence agencies under Operation Olympic Games to sabotage Iran's nuclear program. Targeting Siemens Step7 software and PLCs, it caused significant damage to Iran's uranium enrichment centrifuges at the Natanz facility. The worm altered centrifuge speeds, leading to their physical degradation, and masked its presence by sending normal operation signals. This attack, which exploited multiple zero-day vulnerabilities, was part of a broader strategy to delay Iran's nuclear capabilities without direct military intervention, and it marked a new era of cyberwarfare by demonstrating the potential of malware to cause physical destruction in critical infrastructure. | https://www.csoonline.com/article/562691/stuxnet-explained-the-first-known-cyberweapon.html | https://en.wikipedia.org/wiki/Stuxnet
Stuxnet milling factory attack | Food | 2010 | High | Specific, but part of Stuxnet campaign in Iran | Iran | APT | Unknown | Unknown | ICS-Specialised Malware (Stuxnet) | Loss of Productivity and Revenue, Manipulation of Control, Manipulation of View | Antivirus/Antimalware, Update Software, Exploit Protection | In 2010, the Stuxnet virus, primarily aimed at Iran's nuclear facilities, caused collateral damage by shutting down a 350-ton capacity wheat flour mill near Mount Damavand. This cyberattack disrupted the mill's operations, and security patches had to be imported from abroad to restore functionality. | https://lobelog.com/bread-and-nukes-stuxnets-collateral-damage/
Greenfield wastewater treatment plant hack | Water | 2011 | Low | Specific | US | Insider | Robert Olson | Insider Access | Not used | Loss of Availability, Loss of Productivity and Revenue | Access Management, Authorization Enforcement, User Account Management | Robert Olson, an employee at the Greenfield Wastewater Treatment Plant in Mesa, Arizona, intentionally shut down critical SCADA systems, causing a temporary halt in operations. Olson, armed with a handgun, called 911 to report the shutdown, leading to a two-hour standoff with the Gilbert SWAT team. Despite his actions, automatic safety systems prevented any methane gas buildup or sewage spills, ensuring no public danger. Olson was arrested and faced charges including criminal damage and terrorism. The plant resumed normal operations by 8:00 AM the same day, with additional employees called in to make necessary repairs. | http://scid.infracritical.com/pages/archived/scid-00006/
All ALSPA system machines infected with Conficker at a steel plant | Manufacturing (Metals) | 2011 | Low | Specific | Unknown | Unknown | Unknown | Unknown | Worm (Conficker) | Loss of Productivity and Revenue, Loss of Availability | Update Software, Network Segmentation | On February 6, 2011, the ALSPA system stopped. An investigation revealed that there was a Conficker virus infection in all machines of the ALSPA system. The worm spread throughout the power plant automation network (and probably in other automation networks, but the investigation was limited to the power plant due to budget constraints). The virus flooded the network with unwanted packets and caused an instability in the communications between PLCs and supervisory stations and freezing most of the supervisory systems. The automation team cleaned the infected machines, but the virus returned. The Alston team installed the Windows Service Pack II on all machines in the ALSPA system. After cleaning, the system returned to work well disconnected from PI. The worm infected the PI machine and the SGE network, but was removed without problems. All systems returned to work well while the external networks are disconnected. When these networks are reconnected, the malware returns. Due to this, the automation team decided to keep these external networks disconnected. Since the infection began, the company is paying monthly fines to government agencies because critical reports (such as environmental control, for example) were not being sent. | https://www.risidata.com/Database/Detail/steel_plant_infected_with_conifcker
Malware infections campaign in a US power plant control enviroment | Energy | 2011 - 2012 | Medium | Specific | US | Unknown | Unknown | Replication Through Removable Media | Unknown | Loss of Availability | Antivirus/Antimalware, Limit Hardware Installation, Data Loss Prevention | In a US power generation facility, both common and sophisticated malware were discovered in the industrial control system environment. The discovery was made when an employee requested that the company IT staff inspect his USB drive, which had been experiencing intermittent operational issues. This employee routinely used the USB drive to back up control systems configurations within the control environment. When an IT employee inserted the drive into a computer equipped with up-to-date antivirus software, the antivirus produced three positive hits. Initial analysis raised particular concern when one sample was linked to known sophisticated malware. | https://www.cisa.gov/sites/default/files/Monitors/ICS-CERT_Monitor_Oct-Dec2012.pdf
SCADA systems accessed during Chinese Gas Pipeline Intrusion Campaign | Energy | 2011 - 2013 | High | National | US | APT | The U.S. Government has attributed this activity to Chinese state-sponsored actors | Spearphishing Attachment | Trojans (Various) | Theft of Operational Information | Multi-factor Authentication, User Training, Access Management | From December 2011 to 2013, state-sponsored Chinese actors conducted a spearphishing and intrusion campaign targeting U.S. oil and natural gas pipeline companies. The campaign involved sophisticated spearphishing efforts and targeted 23 pipeline operators, resulting in 13 confirmed compromises, 3 near misses, and 7 cases with an unknown depth of intrusion. Techniques used included social engineering, direct system infiltration, and the exfiltration of sensitive ICS-related information. In some instances, the attackers successfully accessed supervisory control and data acquisition (SCADA) networks at several pipeline companies. | https://www.cisa.gov/news-events/cybersecurity-advisories/aa21-201a
Campaign infecting HMIs with Blackenergy2 malware | Various | 2011 - 2014 | Medium | National | US | APT | Sandworm | Internet Accessible Device | ICS-Specialised Malware (BlackEnergy 2) | Theft of Operational Information | Antivirus/Antimalware, Network Segmentation, Access Management | The NCCIC/ICS-CERT has identified a sophisticated malware campaign that has compromised numerous industrial control system (ICS) environments using a variant of the BlackEnergy malware. This campaign has been active since at least 2011. Various companies collaborating with ICS-CERT have detected the malware on Internet-connected human-machine interfaces (HMIs). Users of HMI products from several vendors, including GE Cimplicity, Advantech/Broadwin WebAccess, and Siemens WinCC, have been targeted in this campaign. Although ICS-CERT has not identified any attempts to damage, modify, or otherwise disrupt the control processes of the affected systems, it has also been unable to confirm whether the intruders have gained access to other parts of the underlying control system beyond the compromised HMIs. | https://www.cisa.gov/news-events/ics-alerts/ics-alert-14-281-01
Industrial heating control system hack in air conditioning company | Building Automation | 2012 | Low | Specific | US | Hacker | A hacker using the name @ntisec, and other hackers with international and US-based IP addresses | Internet Accessible Device | Not used | Negligible Impact | Antivirus/Antimalware, Update Software, Access Management | In February and March 2012, unauthorised IP addresses accessed the Industrial Control System (ICS) network of an undisclosed New Jersey air conditioning company. The intruders were able to exploit a backdoor in the ICS system that allowed access to the main control mechanism for the company's internal heating, ventilation, and air conditioning (HVAC) units. The company was using the Tridium Niagara ICS system, which has been widely reported in the media to contain multiple vulnerabilities that could allow an attacker to remotely control the system. | http://web.archive.org/web/20240614033211/https://info.publicintelligence.net/FBI-AntisecICS.pdf
Smart meters hack in Puerto Rico | Energy | 2012 | Low | Regional | US | Insider | Former employees of the meter manufacturer and employees of the utility | Insider Access | Not used | Manipulation of Control, Manipulation of View | ccess Management, Authorization Enforcement, User Account Management | In 2009, an electric utility in Puerto Rico asked the FBI to help it investigate widespread incidents of power thefts that it believed was related to its smart meter deployment. In May 2010, the bureau distributed an intelligence alert about its findings to select industry personnel and law enforcement officials. Citing confidential sources, the FBI said it believes former employees of the meter manufacturer and employees of the utility were altering the meters in exchange for cash and training others to do so. These individuals are charging $300 to $1,000 to reprogram residential meters, and about $3,000 to reprogram commercial meters, the alert states. The FBI believes that miscreants hacked into the smart meters using an optical converter device, such as an infrared light, connected to a laptop that allows the smart meter to communicate with the computer. After making that connection, the thieves changed the settings for recording power consumption using software that can be downloaded from the Internet. | https://krebsonsecurity.com/2012/04/fbi-smart-meter-hacks-likely-to-spread/
Turbine control system infected with Mariposa | Energy | 2012 | Low | Specific | US | Unknown | Unknown | Replication Through Removable Media | Botnet (Mariposa) | Loss of View, Loss of Productivity and Revenue | antivirus/Antimalware, Limit Hardware Installation, Update Software | In early October 2012, a power company contacted ICS-CERT to report a virus infection in a turbine control system which impacted approximately ten computers on its control system network. Discussion and analysis of the incident revealed that a third-party technician used a USB-drive to upload software updates during a scheduled outage for equipment upgrades. Unknown to the technician, the USB-drive was infected with a variant of the Mariposa virus. The infection resulted in downtime for the impacted systems and delayed the plant restart by approximately 3 weeks. | https://www.cisa.gov/sites/default/files/Monitors/ICS-CERT_Monitor_Oct-Dec2012.pdf
New York Bowman Avenue Dam hack | Water | 2013 | High | Specific | US | APT | APT affiliated with Iranian government (Revolutionary Guards Corps) | External Remote Services | Unknown | Theft of Operational Information | Access Management, Network Segmentation, Communication Authenticity | Iranian hackers infiltrated the computerised controls of the Bowman Avenue Dam in Rye Brook, New York by accessing the dam's command and control system through a cellular modem. The hackers gained remote access to information about the dam's operation, including water levels and the status of the sluice gate, though they could not manipulate it due to maintenance at the time. This attack is attributed to members of Iran's Islamic Revolutionary Guards Corps. | https://www.justice.gov/opa/pr/seven-iranians-working-islamic-revolutionary-guard-corps-affiliated-entities-charged
US and European ICS computers infected with Havex during Dagonfly 1.0 campaign | Energy | 2013 - 2014 | High | Global | Various | APT | DragonFly Group | Spearphishing Attachment | Trojan (Havex/Backdoor.Oldrea) | Theft of Operational Information | Antivirus/Antimalware, Update Software, Supply Chain Management | Dragonfly, also known as Energetic Bear, is a suspected state-sponsored group from Russia or Eastern Europe, targeting energy companies in the US and Europe. The group compromised industrial control system (ICS) providers by infecting their software updates with a remote access Trojan. This malware was unknowingly installed by companies, giving Dragonfly access to critical networks. This breach not only allowed the attackers to spy on these systems but also positioned them to potentially sabotage the infected ICS equipment. | https://www.helpnetsecurity.com/2014/07/01/western-energy-companies-hit-by-state-sponsored-hackers/ | https://www.trendmicro.com/vinfo/us/threat-encyclopedia/web-attack/139/havex-targets-industrial-control-systems
German steel mill attack | Manufacturing (Metals) | 2014 | High | Specific | Germany | APT | Seven Iranian hackers on behalf of the country's Revolutionary Guard Corps (APT) | Spearphishing Attachment | Unknown | Loss of Control, Loss of Productivity and Revenue, Damage to Property | Multi-factor Authentication, User Training, Access Management | A cyber attack on a German steel mill resulted in severe damage to a blast furnace, according to the German Federal Office for Information Security (BSI). Hackers used spear-phishing emails to steal login credentials, allowing them to infiltrate the mill's control systems. Once inside, they manipulated the plant's equipment, causing parts of the facility to fail and preventing the furnace from shutting down normally. This forced an emergency shutdown, leading to significant damage. The BSI did not disclose the identity of the perpetrators or the plant involved. | https://www.bbc.co.uk/news/technology-30575104 | https://cyberlaw.ccdcoe.org/wiki/Steel_mill_in_Germany_(2014)
2015 Ukraine electric power attack | Energy | 2015 | High | Regional | Ukraine | APT | Sandworm | Spearphishing Attachment | ICS-Specialised Malware (BlackEnergy 3), Wiper (KillDisk/CaddyWiper) | Denial of Control, Loss of Availability, Loss of Control, Loss of Productivity and Revenue | Antivirus/Antimalware, Network Segmentation, Multi-factor Authentication | On December 23, 2015, a significant cyberattack targeted Ukraine's power grid, resulting in power outages that affected around 230,000 people for 1 to 6 hours. This attack, attributed to the Russian hacking group "Sandworm," was the first publicly acknowledged successful cyberattack on a power grid. The attackers used the BlackEnergy 3 malware to infiltrate the information systems of three Ukrainian energy distribution companies. Once inside, they remotely switched off 30 substations and disabled critical infrastructure components. They also launched a denial-of-service attack on the call center to prevent affected consumers from obtaining information about the blackout. This cyberattack occurred during the ongoing Russo-Ukrainian War and highlighted the vulnerabilities of Ukraine's power grid, which was outdated and susceptible to infiltration due to its Soviet-era infrastructure. | https://www.forbes.com/sites/thomasbrewster/2016/01/04/ukraine-power-out-cyber-attack/?sh=b248db26fa86 | https://en.wikipedia.org/wiki/2015_Ukraine_power_grid_hack
Kemuri water treatment plant hack | Water | 2015 | High | Specific | US | Hacktivists | Hacktivist group associated with Syria | Spearphishing Attachment | Not used | Manipulation of Control, Loss of Control, Loss of Availability | Update Software, Network Segmentation, Vulnerability Scanning | In the months prior to reporting the breach, the Kemuri Water Company's IT team had begun noticing signs of a security breach, namely, valve and duct movements that were impacting many of the plant's PLCs, which were used to manage water flow rate and to control the chemical treatment of the water supply. When Verizon Security Solutions started looking into Kemuri, they immediately noticed that the organization had a poor security architecture, with Internet-facing systems plagued by high-risk vulnerabilities known to be exploited in the wild, and outdated operation technology systems that had been more than 10 years old. Verizon said the attack happened because the company's IT network was using operating systems that were more than a decade old, and the SCADA platform was powered by an ancient IBM AS/400 system released back in 1988. This IBM server was so outdated only one employee in the entire plant could operate it properly. It connected to both the plant's IT network (thus the financial records) and OT systems (controlling the water treatment facility and water supply for surrounding areas). The Verizon researchers believed the threat actors were able to get into the plant, and the IBM AS/400 system, via a vulnerability in the payment application web server. But because the AS/400 also controlled valve and flow control, the hackers were able to cross breach, jumping from the IT side to the OT side. | https://www.theregister.com/2016/03/24/water_utility_hacked/
Tidal turbine hack | Energy | 2015 | Medium | Specific | France | Unknown | Unknown | Unknown | Ransomware (Unknown) | Loss of Productivity and Revenue, Loss of View | Antivirus/Antimalware, Update Software, Access Management | Last October, the French tidal energy developer Sabella suffered a cyber attack that temporarily rendered the computer controlling their D10 tidal turbine and its associated equipment unusable. The hackers demanded a ransom of $4000 in exchange for a password to unlock the system. Sabella chose not to pay the ransom. Instead, they replaced the compromised computer and enhanced their security measures. This decision was confirmed by Jean-Christophe Allo, Sabella's Project Manager. | https://www.offshore-energy.biz/tidal-turbine-victim-of-hack-attack-yes/
US and European SCADA systems accessed during Dragonfly 2.0 campaign | Energy | 2015 - 2017 | High | Global | Various | APT | DragonFly Group | Spearphishing Attachment | Trojans (Havex/Backdoor.Oldrea, Trojan.Karagany, Backdoor.Goodor, and Backdoor.Dorshel) | Theft of Operational Information | Antivirus/Antimalware, Update Software, Access Management | In 2017, the DragonFly group, a hacking collective linked to the Russian government, launched a sophisticated cyberattack campaign known as DragonFly 2.0. Targeting power and utility companies in the US and Europe, the group used phishing emails and supply chain attacks to infiltrate networks and gain access to critical systems, including those controlling circuit breakers. Over six months, they successfully breached 20 companies, gathering intelligence on how these systems operated. While no immediate physical damage occurred, the attackers positioned themselves to potentially disrupt electricity supplies in the future, highlighting significant vulnerabilities in the energy sector. | https://hitachi-systems-security.com/dragonfly-2-0-targets-energy-sector-gaining-access-to-scada-systems/
Greyenergy infects SCADA workstations in Ukraine and Poland | Energy | 2015 - 2018 | High | Global | Various | APT | GreyEnergy Group | Spearphishing Attachment, Exploit Public-Facing Application | ICS-Specialised Malware (GreyEnergy) | Theft of Operational Information | Antivirus/Antimalware, Network Segmentation, Exploit Protection | Researchers at ESET said hackers with alleged ties to Russia have been systematically targeting critical infrastructure in Ukraine. The threat group dubbed GreyEnergy is believed to be related to the attack outfits BlackEnergy and Telebots, also known as Sandworm. GreyEnergy has been active for the past three years and has launched malware attacks against energy companies and other high-value targets in Ukraine and Poland. Researchers said GreyEnergy operators have been strategically targeting ICS control workstations running SCADA software and servers, which tend to be mission-critical systems never meant to go offline except for periodic maintenance. According to ESET, GreyEnergy's malware framework shares multiple similarities to BlackEnergy such as their module construction, use of remote command and control structures, and functionality for espionage and reconnaissance purposes. GreyEnergy's malware, as compared to BlackEnergy, is a more modern toolkit with an even greater focus on stealth. | https://www.darkreading.com/application-security/greyenergy-group-tied-to-power-plant-attacks-in-ukraine-poland | https://www.eset.com/us/about/newsroom/press-releases/greyenergy-group-targeting-critical-infrastructure-possibly-in-preparation-for-damaging-attacks-1/
BlackEnergy strains infect Ukrainian mining and railway systems | Transport, Mining | 2016 | High | National | Ukraine | APT | Sandworm | Unknown | ICS-Specialised Malware (BlackEnergy 3), Wiper (KillDisk/CaddyWiper) | Negligible Impact | Antivirus/Antimalware, Update Software, Network Segmentation | In February 2016, researchers from Trend Micro discovered that the BlackEnergy and KillDisk malware used in the December 2015 cyber-attacks on Ukraine's energy sector also targeted the country's mining and railway systems. These attacks, attributed to Russian-linked actors, involved the malware compromising systems by exploiting vulnerabilities and using command and control servers. BlackEnergy targeted SCADA systems, while KillDisk was designed to destroy files and render systems inoperable. Although these infections at mining and railway companies did not directly cause outages, the similarities in the malware used suggest a coordinated effort to destabilise Ukraine's critical infrastructure. | https://www.securityweek.com/blackenergy-killdisk-infect-ukrainian-mining-railway-systems/ | https://www.darkreading.com/threat-intelligence/ukraine-railway-mining-company-attacked-with-blackenergy
2016 Ukraine electric power attack | Energy | 2016 | High | Regional | Ukraine | APT | Sandworm | Spearphishing Attachment | ICS-Specialised Malware (Industroyer) | Manipulation of Control, Denial of Control, Denial of View, Loss of Protection, Loss of View | Antivirus/Antimalware, Network Segmentation | Ukraine's national power company, Ukrenergo, confirmed that a cyberattack caused a significant electricity outage in the Kiev region on the night of December 17-18, 2016. The attack disrupted the normal operation of workstations and SCADA servers through malware that allowed attackers to remotely control internal systems. This sophisticated, layered attack is believed to be more advanced than the previous year's attacks on Ukraine's power grid. | https://www.securityweek.com/ukraine-power-company-confirms-hackers-caused-outage/ | https://attack.mitre.org/campaigns/C0025/
DDoS attack takes down central heating system in Finland | Energy | 2016 | Medium | Specific | Finland | Unknown | Unkown Mirai botmaster | Internet Accessible Device | Botnet (Mirai) | Loss of Protection, Denial of Control, Loss of Availability | Network Segmentation, Filter Network Traffic, Update Software | In November 2016, a Distributed Denial of Service (DDoS) attack targeted the central heating systems of at least two housing blocks in Lappeenranta, Finland. These systems were managed by a facilities services company called Valtia. The attack caused the heating and hot water systems to go offline amidst subzero temperatures, leaving residents in potentially dangerous conditions. The DDoS attack overwhelmed the automated control systems, causing them to repeatedly reboot and get stuck in an endless loop, effectively shutting down the heating systems for over a week. This disruption was especially concerning because, in such cold weather, a prolonged loss of heating could have severe consequences for the residents, particularly the elderly. The attack was attributed to the Mirai botnet, which compromised insecure Internet of Things (IoT) devices and used them to launch massive DDoS attacks. | https://thehackernews.com/2016/11/heating-system-hacked.html | https://securityledger.com/2016/11/lets-get-cyberphysical-ddos-attack-halts-heating-in-finland/
Triconex Controller Triton Attack in Saudi Arabia | Chemicals (Petrochemicals) | 2017 | High | Specific | Saudi Arabia | APT | XENOTIME | Unknown, but likely Spearphishing Attachment | ICS-Specialised Malware (Triton) | Loss of Safety | Antivirus/Antimalware, Safety Instrumented Systems, Network Segmentation | In December 2017, a cyberattack, known as the Triton incident, targeted the safety systems of an industrial facility in Saudi Arabia. Hackers deployed the "TRITON" malware to manipulate Triconex Safety Instrumented System (SIS) controllers, which are crucial for preventing dangerous conditions. The attack was detected when the malware inadvertently triggered a shutdown due to a bug. This incident marked the first known attempt to directly target industrial safety systems, likely by a state-sponsored actor. | https://www.scor.com/en/expert-views/triton-cyber-attack-hackers-target-safety-systems-industrial-plants | https://www.trellix.com/en-gb/blogs/research/triton-malware-spearheads-latest-generation-of-attacks-on-industrial-systems/
Attack against Chernobyl's radiation monitoring system | Nuclear | 2017 | Medium | Specific | Ukraine | Ransomware group / APT | Sandworm | Unknown | Ransomware (NotPetya) | Loss of Availability | Antivirus/Antimalware, Update Software, Network Segmentation | In June 2017, the radiation monitoring system at Ukraine's Chernobyl nuclear site was taken offline due to a global cyberattack known as "NotPetya." This attack, which began in Russia and Ukraine before spreading to Western Europe and the U.S., forced Chernobyl employees to manually measure radiation levels using handheld devices. The cyberattack impacted various government and corporate systems globally. NotPetya was initially thought to be a variant of the Petya ransomware but was later identified as a new, more sophisticated form of ransomware. | https://www.thejournal.ie/chernobyl-cyberattack-3467125-Jun2017/ | https://www.independent.co.uk/tech/chernobyl-ukraine-petya-cyber-attack-hack-nuclear-power-plant-danger-latest-a7810941.html
HMIs infected with crypto-mining malware in a European water utility | Water | 2018 | Medium | Specific | Unknown | Unknown | Unknown | Drive-by Compromise | Cryptojacking malware | Negligible Impact | Antivirus/Antimalware, Update Software, User Training | In February 2018, a European water utility's industrial control systems (ICS) were compromised by cryptocurrency mining malware, marking the first public instance of such an attack on ICS or SCADA (Supervisory Control and Data Acquisition) servers. The malware, discovered by security firm Radiflow, infected the utility's network after an operator inadvertently downloaded it by clicking on an advertisement. The malware, which mined Monero cryptocurrency, initially affected the utility's Human Machine Interface (HMI) system, which was running on an outdated Windows XP operating system. The malware remained undetected for approximately three weeks before it was identified. The name of the utility has not been disclosed. | https://www.smart-energy.com/regional-news/europe-uk/cryptocurrency-malware-eu-utility/
Kansas water system hack | Water | 2019 | Low | Specific | US | Insider | Wyatt A. Travnichek | Insider Access | Not used | Loss of Availability | Access Management, Authorization Enforcement, User Account Management | In March 2021, a Kansas man named Wyatt A. Travnichek was indicted on federal charges for tampering with a public water system and recklessly damaging a protected computer during unauthorised access. The indictment alleges that on March 27, 2019, Travnichek illegally accessed the computer system of the Ellsworth County Rural Water District No. 1, also known as Post Rock Rural Water District. During this unauthorized access, he allegedly shut down processes that impacted the facility's cleaning and disinfecting procedures, potentially endangering the safety and health of the community. If convicted, Travnichek faces up to 20 years in federal prison for tampering with a public water system and up to 5 years for damaging a protected computer, along with fines up to $250,000 for each charge. The case is being prosecuted by the U.S. Attorney's Office for the District of Kansas, with the investigation conducted by the EPA, FBI, and Kansas Bureau of Investigation. | https://www.justice.gov/usao-ks/pr/indictment-kansas-man-indicted-tampering-public-water-system | https://www.justice.gov/usao-ks/pr/kansas-man-pleads-guilty-water-facility-tampering
Water supply system and HMIs infected with ransomware in Texas | Water | 2019 | Medium | Regional | US | Ransomware group | Revil ransomware-as-a-service user/s | Unknown | Ransomware (REvil) | Loss of Availability, Loss of Productivity and Revenue | Antivirus/Antimalware, Data Backup, Access Management | Texas was hit by a ransomware cyberattack, affecting computer systems in 22 municipalities. Hackers infiltrated these systems, demanding a ransom of $2.5 million to unlock the encrypted files. In Borger, Texas, the attack disrupted municipal and financial operations. The city was unable to issue birth and death certificates online or accept utility payments from its 13,250 residents. Additionally, the attack compromised the human-machine interfaces used to control the water supply, forcing the city workers to operate these systems manually. | https://spectrumlocalnews.com/tx/dallas-fort-worth/news/2021/07/26/-holy-moly----inside-texas--fight-against-a-ransomware-hack | https://cyberlaw.ccdcoe.org/wiki/Texas_Municipality_ransomware_attack_(2019)
Israeli water facilities attacked by hacktivists | Water | 2020 | Low | National | Israel | Hacktivists | Anonymous hackers taking part in OpIsrael | Internet Accessible Device | Not used | Negligible Impact | Update Software, Password Policies, Network Segmentation | On April 24 and 25, Israeli media reported a series of co-ordinated cyber attacks on the command and control systems of wastewater treatment plants, pumping stations and sewage infrastructure operated by multiple municipal councils. Israel's National Cyber Directorate issued a statement confirming the attempted attacks and immediately made contact with the organisations affected by it, ordering them to change their network passwords, reduce their network connections and ensure all control software was updated to the latest version. There appeared to have been particular concern over the systems related to chlorine control, due to risk of potential water contamination. Operators were told to pay specific attention to the systems responsible for adding chlorine to drinking wells, and organisations operating the wells were asked to respond and update promptly on their status. | https://cyberriskleaders.com/critical-infrastructure-attack-attempted-against-israeli-water-supply/ | https://www.securityweek.com/israel-says-hackers-targeted-scada-systems-water-facilities/
Attack on Israeli water reservoir | Water | 2020 | Low | Specific | Israel | Hacktivists | Iran-based hacker group, named Unidentified TEAM | Internet Accessible Device | Not used | Negligible Impact | Access Management, Firewall Protection, Communication Authenticity | On December 1, 2020, an Iranian hacker group breached an Israeli water reservoir's HMI system, which was exposed to the internet without security measures like authentication or firewalls. The attackers gained easy access and could manipulate system functions. By the next morning, the HMI application required authentication, but the system remained exposed to the internet, still vulnerable to skilled attackers. Additionally, the system continued to allow unsecured communications via port 502, used for the Modbus protocol, which lacks authentication and encryption. OTORIO researchers identified the ICS system as "T-Box" by Ovarro, noting the poor security practices in place. | https://www.otorio.com/blog/what-we-ve-learned-from-the-december-1st-attack-on-an-israeli-water-reservoir/
Rasomware encrypts OT devices in a gas compression facility | Chemicals (Petrochemicals) | 2020 | Medium | Specific | US | Ransomware group | Unknown | Spearphishing Attachment | Ransomware (Unknown) | Loss of View, Loss of Productivity and Revenue | Antivirus/Antimalware, Network Segmentation, User Training | A cyberattack targeted the operational technology (OT) network of a natural gas compression facility. The attackers initially gained access through a spearphishing link in the IT network and then moved to the OT network, deploying ransomware to encrypt data. The attack caused a loss of availability in key OT assets, including human machine interfaces (HMIs), data historians, and polling servers, leading to a partial loss of real-time operational data for human operators. However, programmable logic controllers (PLCs) remained unaffected, and the facility never lost control of its operations. Despite this, the facility implemented a controlled shutdown for two days, leading to a temporary loss of productivity and revenue. Normal operations were restored after the shutdown. | https://www.cisa.gov/news-events/cybersecurity-advisories/aa20-049a
Ransomware infects SCADA servers in a California WWS facility | Water | 2021 | Medium | Specific | US | Ransomware group | Ghostsec ransomware-as-a-service user/s | Unknown | Ransomware (GhostLocker) | Loss of View, Loss of Productivity and Revenue | Antivirus/Antimalware, Data Backup, Network Segmentation | In August 2021, malicious cyber actors used Ghost variant ransomware against a California-based WWS facility. The ransomware variant had been in the system for about a month and was discovered when three supervisory control and data acquisition (SCADA) servers displayed a ransomware message. The variant, known as GhostLocker, is the creation of a group called GhostSec, which does Ransom-as-a-Service (RaaS) and promotes this malware as an advanced locking solution for $999 for access to 15 slots during its beta phase. | https://www.cisa.gov/news-events/cybersecurity-advisories/aa21-287a
ZuCaNo ransomware infects SCADA computer in a Maine-based WWS | Water | 2021 | Medium | Specific | US | Unknown | Unknown | Remote Services | Ransomware (ZuCaNo) | Loss of View, Loss of Productivity and Revenue | Antivirus/Antimalware, Data Backup, Access Management | In July 2021, cyber actors used remote access to introduce ZuCaNo ransomware onto a Maine-based WWS facility's wastewater SCADA computer. The treatment system was run manually until the SCADA computer was restored using local control and more frequent operator rounds. | https://www.cisa.gov/news-events/cybersecurity-advisories/aa21-287a
Ransomware infects SCADA system in Nevada-based WWS facility | Water | 2021 | Medium | Specific | US | Unknown | Unknown | Unknown | Ransomware (Unknown) | Loss of View, Loss of Productivity and Revenue | Antivirus/Antimalware, Data Backup, Network Segmentation | In March 2021, cyber actors used an unknown ransomware variant against a Nevada-based WWS facility. The ransomware affected the victim's SCADA system and backup systems. The SCADA system provides visibility and monitoring but is not a full industrial control system (ICS). | https://www.cisa.gov/news-events/cybersecurity-advisories/aa21-287a | https://www.powermag.com/dhs-usb-drives-spread-malware-in-control-system-environment-at-two-power-plants/
An attack campaign against KNX-based building automation systems | Building Automation | 2021 - 2023 | High | Global | Various | Unknown | Unknown | Internet Accessible Device | Not used | Loss of Control, Loss of Productivity and Revenue | Limit Access to Resource Over Network, Update Software, Communication Authenticity | A German engineering company specialising in electrical and automation services had been contracted to design the building automation system for a mid-sised site. They implemented the system using KNX technology. Later, the customer reported an issue: unauthorised access had been gained to their building automation control system via the internet, resulting in a lockout. The building contained several hundred KNX components, and three-quarters of them were rendered inoperative due to the attack. This attack was notable for its use of unique, control system-technology specific aspects. The attackers had a deep understanding of KNX technology and knew how to exploit its features. A crucial aspect of the attack involved the bus coupling unit (BCU) key, a protective feature in the KNX standard designed to prevent unauthorised changes to the devices. When a BCU Key is set, all KNX devices in the project that support this feature are locked during the engineering process with an 8-character password. Once activated, devices secured with a BCU key cannot be altered unless the password is known. Most devices do not allow a password reset, even with physical access. After gaining access, the attackers first disabled the devices and then activated the BCU key on them. This is analogous to purging a computer's hard disk and then setting a password on it. The computer can be powered on, but it becomes useless without its operating system and applications. Without the password, no new operating system or application can be installed. Consequently, hundreds of building automation control devices ceased to function, stripping the building of its automated capabilities. | https://limessecurity.com/en/knxlock/
South Staffordshire Water SCADA system access | Water | 2022 | Medium | Specific | UK | Ransomware group | Clop ransomware group | Unknown | Not used | Theft of Operational Information | Antivirus/Antimalware, Data Loss Prevention, Access Management | On August 15, the Clop ransomware group announced on their leak website the breach of South Staffordshire Water, a privately owned UK water supply company. The attackers did not encrypt systems to prevent access to data or business continuity. They chose to use extortion techniques that are gaining popularity with cybercriminals: leak some of the exfiltrated data, publicly shame the victim and threaten further consequences if the ransom is not paid. In brief, Clop posted on its website leaked documents and two screenshots of the SCADA system used to monitor and control South Straffordshire Water's operations. South Staffordshire Water has confirmed the incident via a public statement. | https://securityboulevard.com/2022/08/analysis-of-clops-attack-on-south-staffordshire-water-uk/ | https://www.south-staffs-water.co.uk/news/important-statement
Khanty-Mansiysk city SCADA attack | Energy, Transport | 2022 | Medium | Regional | Russia | Hacktivists | Team OneFist | Unknown | Not used | Loss of Availability | Antivirus/Antimalware, Network Segmentation, Data Backup | A SCADA attack targeted the natural gas system of Khanty-Mansiysk city. The attack destroyed the city's natural gas facility, knocked out its power plant and caused a blackout at its airport, reports International Business Times. As the world's second biggest oil producing region (before western sanctions hit Russian oil) Khanty Mansi was the center of the old Soviet oil industry. The SCADA system of Khanty-Mansiysk city's natural gas network along with its backup system at the airport was completely destroyed in the attack. Reportedly the pro-Ukrainian group: Team OneFist is behind the attack. | https://www.ibtimes.com/team-onefist-destroys-natural-gas-system-russian-oil-hub-knocks-power-plant-airport-offline-3604641 | https://icsstrive.com/incident/russian-natural-gas-network-system-attacked-by-pro-ukrainian-hacker-group/
Gysinoozerskaya hydro-electric power plant explosion | Energy | 2022 | Medium | Specific | Russia | Hacktivists | GhostSec | Unknown | Wiper (Killbus) | Damage to Property, Loss of Availability | Antivirus/Antimalware, Network Segmentation, Communication Authenticity | On July 20, a cyberattack triggered a significant fire and the emergency shutdown of Russia's Gysinoozerskaya Hydro-Power Plant. The hacktivist group GhostSec claimed responsibility, stating the attack was retaliation for Russian aggression in Ukraine. GhostSec leader Sebastian Dante Alexander, in a statement to The Tech Outlook, said the operation aimed to avoid casualties while disrupting the plant. He detailed using a tool called KillBus, targeting Modbus devices to manipulate industrial control systems. | https://www.thetechoutlook.com/news/security/exclusive-ghostsec-has-taken-the-responsibility-for-the-recent-russian-ics-attack-with-zero-causality/
Predatory Sparrow attack against Iranian steel makers | Manufacturing (Metals) | 2022 | High | Regional | Iran | APT | Predatory Sparrow | Unknown | Unknown | Theft of Operational Information, Damage to Property | Antivirus/Antimalware, Network Segmentation, Access Management | On June 27, 2022, a targeted cyberattack by the group known as "Gonjeshke Darande" (Predatory Sparrow) severely impacted Iran's steel industry, specifically striking Mobarakeh Steel Company, Hormozgan Steel Company, and Khuzestan Steel Industries. The most detailed incident occurred at Khuzestan Steel, where at 3:08:22 pm local time, a compromised internal plant camera recorded a critical failure in the ladle metallurgy process during vacuum degassing. This disruption caused significant defects in the molten steel, leading to a catastrophic loss of structural integrity. The attack was highlighted by the publication of images from the compromised Industrial Control System (ICS) on the group's Twitter account, revealing the use of a Siemens PCS7 Process Control System, likely with S7-400 controllers. | https://cyberlaw.ccdcoe.org/wiki/Predatory_Sparrow_operation_against_Iranian_steel_maker_(2022)#:~:text=27%20June%202022%2C%20between%20midnight%20and%206%20am%20IRST.&text=A%20hacking%20group%20called%20Predatory,responsibility%20for%20the%20cyber%20operation | https://blog.scadafence.com/the-iran-steel-industry-cyber-attack-explained
Compromise of 55 Berghof PLCs across Israel | Various | 2022 | Low | National | Israel | Hacktivists | GhostSec | Internet Accessible Device | Not used | Theft of Operational Information | Access Management, Password Policies, Network Segmentation | British cybersecurity firm OTORIO disclosed on Wednesday that the hacktivist group GhostSec gained control over 55 Berghof programmable logic controllers (PLCs) across Israeli organisations. The system dump published by GhostSec included ZIP files showing the public IP addresses of these PLCs, indicating they were exposed to the internet. Both archives contained system dumps and HMI screenshots from the Berghof admin panel, which allows backups and live HMI snapshots for logged-in users. OTORIO stated that at the time of the company's investigation, the IPs were still accessible through the Internet. Access to the admin panel was password-protected. However, trying a few defaults and common credentials resulted in a successful login. | https://industrialcyber.co/critical-infrastructure/ghostsec-hacktivist-group-compromise-55-berghof-plcs-across-israel-otorio-discloses/ | https://www.otorio.com/blog/pro-palestinian-hacking-group-compromises-berghof-plcs-in-israel/
Ufinet ISP M340 PLCs attack by GhostSec | Communications | 2022 | Unknown | Specific | Nicaragua | Hacktivists | GhostSec | Internet Accessible Device | Not used | Manipulation of Control | Access Management, Network Segmentation, Communication Authenticity | As a part of the recent wave of hacktivist attacks targeting OT, the GhostSec group targeted an exposed M340 belonging to the Nicaraguan ISP UFINET by writing the value 0 to all its Modbus registers. | https://ciso.economictimes.indiatimes.com/news/deep-lateral-movement-in-ot-networks-when-is-a-perimeter-not-a-perimeter/97973979
Akiva sewage system hack | Water | 2022 | Low | Specific | Israel | Hacktivists | GhostSec | Internet Accessible Device | Not used | Theft of Operational Information | Access Management, Communication Authenticity, Password Policies | Hackers discovered that the sewage system in the Israeli town of Or Akiva was fully exposed online without any protection and posted a photo of the sewage pump control system's interface, which lacked password protection and didn't use HTTPS. The hackers, apparently unaware of the system's purpose, mistakenly referred to it as fuel pumps. The interface showed, in real time, sewage pumps in Or Akiva, the level and flow of the sewage and pressure, as well as other live parameters. After being approached by Haaretz, the National Cyber Directorate contacted the Or Akiva municipality on Thursday morning, but the interface remained exposed for many hours thereafter. The municipality blocked access to the interface only on Thursday evening following a query from Haaretz. | https://www.haaretz.com/israel-news/security-aviation/2022-07-10/ty-article/.premium/cyber-sewage-attack-hackers-show-how-easy-it-is-to-flood-israel/00000181-e836-dd94-a5b3-fdf69f170000?v=1722425162451 | https://outpost24.com/blog/ics-attack-classifications/
Israeli hotel swimming pool's water control system hack | Recreation | 2022 | Low | Specific | Israel | Hacktivists | GhostSec | Internet Accessible Device | Not used | Negligible Impact | Access Management, Password Policies, Network Segmentation | In September 2022, the hacktivist group GhostSec claimed to have breached the control systems of water facilities, specifically targeting Aegis II controllers in Israel. The group released screenshots indicating they had gained control over pH and chlorine levels, likely in swimming pool systems. Although the group did not release detailed technical data, cybersecurity researchers from OTORIO confirmed the breach by locating the affected controllers, which were exposed to the internet and still using default passwords. The attack highlighted significant vulnerabilities in industrial control systems (ICS), particularly due to poor cybersecurity practices like not changing default credentials and exposing critical systems online. Although the attackers claimed they could have caused more damage, they emphasised their intent was to demonstrate control rather than cause harm. | https://www.otorio.com/blog/2022-cyberattacks-critical-infrastructure-industrial-manufacturing/ | https://borncity.com/win/2022/09/18/ghostsec-schlgt-erneut-zu-und-nimmt-wasserhygiene-ins-visier/
2022 Ukraine electric power attack (1) | Energy | 2022 | High | Specific | Ukraine | APT | Sandworm | Unknown | Wiper (KillDisk/CaddyWiper) | Manipulation of Control, Loss of View | Antivirus/Antimalware, Network Segmentation, Multi-factor Authentication | In late 2022, the Russia-linked Sandworm group executed a sophisticated cyberattack on a Ukrainian critical infrastructure organisation, resulting in a power outage. Sandworm used a novel technique to compromise the operational technology (OT) environment, likely tripping substation circuit breakers to cause the outage, coinciding with missile strikes on Ukrainian infrastructure. The attackers utilised "living off the land" (LotL) techniques, minimising the use of external tools and making the attack harder to detect. They also deployed a new variant of the CADDYWIPER malware to further disrupt the IT environment, although they did not wipe the SCADA system, which was unusual. | https://cloud.google.com/blog/topics/threat-intelligence/sandworm-disrupts-power-ukraine-operational-technology/
2022 Ukraine electric power attack (2) | Energy | 2022 | High | Regional | Ukraine | APT | Sandworm | Unknown | ICS-Specialised Malware (Industroyer2) | Manipulation of Control, Denial of Control, Denial of View, Loss of Protection, Loss of View, Loss of Productivity and Revenue | Limit Access to Resource Over Network, Network Segmentation, Access Management | In this incident, a Ukrainian energy provider was targeted by a sophisticated cyber-attack. ESET researchers, working alongside CERT-UA, discovered that the attackers were using a new variant of the Industroyer malware, which they named Industroyer2. Industroyer is a notorious piece of malware previously used by the Sandworm APT group, which is believed to be associated with Russian state-sponsored hacking activities. In 2016, the original Industroyer was used to cut power in Ukraine, causing a significant blackout. In this recent attack, the Sandworm group attempted to deploy Industroyer2 against high-voltage electrical substations in Ukraine, which could have led to serious disruptions in the power supply. However, thanks to the collaboration between ESET researchers and CERT-UA, the attack was detected and analyzed. The exact methods the attackers used to initially compromise the victim's network and how they transitioned from the IT network to the Industrial Control System (ICS) network remain unclear. | https://www.welivesecurity.com/2022/04/12/industroyer2-industroyer-reloaded/
Seliatino Agrohub hack via exposed Danloss controller | Food | 2022 | Low | Specific | Russia | Hacker | Hacker nicknamed Supervisor | Internet Accessible Device | Not Used | Manipulation of Control | Limit Access to Resource Over Network, Authorization Enforcement, Network Segmentation | On February 26 Seliatino Agrohub underwent an attack on their frozen foods facility in the Moscow region. An unknown user nicknamed Supervisor penetrated the refrigeration remote monitoring network and changed the temperature settings from -24 degrees C to +30 degrees C in a facility where 40 tons of frozen meat and fish were stored. | https://ics-cert.kaspersky.com/media/Kaspersky-ICS-CERT-H1-2022-A-brief-overview-of-the-main-incidents-in-industrial-cybersecurity-En.pdf
Belarus railway systems disabled by hacktivists | Transport | 2022 | Low | Regional | Belarus | Hacktivists | Cyber Partisans | Unknown | Ransomware (Unknown) | Loss of Availability | Limit Access to Resource Over Network, Network Segmentation, Communication Authenticity | Hacktivist group "Cyber Partisans" disrupted routing and switching by hacking into computers controlling the rail network, halting trains in Minsk, Orsha and Osipovichi. They did this to slow troop movements into Ukraine, who are transiting from Russia through Belarus to support the Russian invasion which began 4 days prior. | https://icsstrive.com/incident/belarus-rail-network-disrupted-by-hacktivist-group/
Hackers breach OT systems in Bulgaria's postal service | Communications | 2022 | Medium | Specific | Bulgaria | Hacktivists | KillNet claimed responsibility | Unknown | Ransomware (Unknown) | Loss of Availability, Loss of Productivity and Revenue | Limit Access to Resource Over Network, Data Backup, Network Segmentation | A major Russian-originated ransomware attack occurred on the Bulgarian State Post Office system. Six hours passed between the beginning of their attack and the moment when the servers were turned off and the system's connection to the Internet was cut off. During this time, hackers had access to the entire database and were able to encrypt or even delete archives Hackers moved laterally into all IT and OT systems affecting all 26 services offered. Besides affecting systems for payment and transfer of money, pensions, etc, the sending and receiving of post, domestic and international was interrupted for weeks. After a time, post could be received but only if the recipient did not owe amounts at time of delivery. | https://icsstrive.com/incident/complete-state-postal-system-outage-in-bulgaria/ | https://securityaffairs.com/137230/hacking/bulgaria-hit-cyber-attack-russia.html
PLCs Breached During Operation Jane Campaign | Various | 2022 | Low | National | US | Hacktivists | SiegedSec | Internet Accessible Device | Not used | Negligible Impact | Limit Access to Resource Over Network, Network Segmentation, Exploit Protection | In response to recent changes to abortion laws in the United States, the hacktivist group Anonymous (SiegedSec) initiated “Operation Jane,” targeting individuals and entities enforcing the new legislation. During a routine investigation, Cyble researchers discovered a Telegram post made by this group mentioning attacks on Industrial Control Systems (ICS). Upon further validation, they confirmed that the Metasploit module “Allen-Bradley/Rockwell Automation EtherNet/IP CIP Commands” was being used in these attacks. This module is capable of executing the CPU STOP command and can also cause the Ethernet card in affected devices to crash. | https://cyble.com/blog/global-hacktivism-on-the-rise/ | https://databreaches.net/2022/07/08/siegedsec-continues-opjane-efforts/
Unitronics PLCs hack at Pittsburgh's Full Pint Beer brewery | Food | 2023 | Low | Specific, but part of global Unitronics defacement campaign | US | Hacktivists | Cyber Av3ngers | Internet Accessible Device | Not used | Loss of View, Loss of Productivity and Revenue, Loss of Availability, Denial of Service | Limit Access to Resource Over Network, Password Policies, Network Segmentation | In November 2023, the Iranian-linked hacker group "Cyber Av3ngers" targeted Pittsburgh's Full Pint Beer brewery by compromising its industrial controllers. The hackers left a message on the brewery's programmable logic controller (PLC), manufactured by Israeli company Unitronics, declaring Israeli-made equipment as a legal target. This attack was part of a broader campaign by the group, which also targeted other U.S. facilities. The breach exploited default passwords, emphasising the need for stronger cybersecurity in industrial systems. | https://www.scmagazine.com/news/cyber-av3ngers-gang-hacks-industrial-controllers-across-multiple-us-states
Cyberattack on North Mayo Group Water Scheme | Water | 2023 | Low | Specific, but part of global Unitronics defacement campaign | Ireland | Hacktivists | Cyber Av3ngers | Internet Accessible Device | Not used | Loss of View, Loss of Productivity and Revenue, Loss of Availability, Denial of Service | Limit Access to Resource Over Network, Firewall Protection, Password Policies | Hackers targeted a water system in the Erris area, affecting 180 people in Binghamstown and Drum, leaving them without water for two days. The attackers breached a Unitronics water pumping system, defacing the interface with an anti-Israel message, reportedly because the system was made in Israel. The incident was likely carried out by hacktivists who exploited a poorly secured industrial control system (ICS). The water utility suggested that their firewall might not have been strong enough, but the breach likely occurred due to exposed or weakly protected programmable logic controllers (PLCs) or human-machine interfaces (HMIs). | https://www.securityweek.com/cyberattack-on-irish-utility-cuts-off-water-supply-for-two-days/
PA (Aliquippa) water authority hack | Water | 2023 | Low | Specific, but part of global Unitronics Defacement Campaign | US | Hacktivists | Cyber Av3ngers | Internet Accessible Device | Not used | Loss of View, Loss of Availability, Denial of Service | Limit Access to Resource Over Network, Password Policies, Network Segmentation | The Municipal Water Authority of Aliquippa said on Saturday that one of their booster stations had been hacked by an Iranian-backed cyber group. Matthew Mottes, the chairman of the board of directors for the Municipal Water Authority of Aliquippa, confirmed to KDKA-TV that the cyber group, known as Cyber Av3ngers, took control of one of the stations. Mottes added that the station, located on the outskirts of town, monitors and regulates pressure for Raccoon and Potter Townships and stressed that there is no known risk to the drinking water or water supply.The machine that was hacked uses a system called Unitronics, which Mottes says is software or has components that are Israeli-owned.The system has since been disabled and Police were called to the booster station to begin a criminal investigation. | https://www.cbsnews.com/pittsburgh/news/municipal-water-authority-of-aliquippa-hacked-iranian-backed-cyber-group/ | https://www.breakingnews.ie/ireland/anti-israeli-hackers-leave-180-mayo-homes-without-water-in-cyberattack-1561775.html
Attacks on automated irrigation systems in Israel | Agriculture | 2023 | Low | Regional, but part of global Unitronics defacement campaign | Israel | Hacktivists | Anonymous Sudan members taking part in #OPIsrael campaign | Internet Accessible Device | Not used | Loss of View, Loss of Productivity and Revenue, Loss of Availability, Denial of Service | Limit Access to Resource Over Network Network Segmentation, Update Software | In April 2023, a cyberattack targeted the irrigation and wastewater systems in Israel's Upper Galilee, leading to significant disruptions. The attack damaged water controllers for fields in the Jordan Valley and affected the control systems of the Galil Sewage Corporation, rendering several water monitors dysfunctional. Despite prior warnings about potential cyber threats during Ramadan, some systems remained vulnerable, while others were switched to manual operation by cautious farmers, avoiding damage. This attack is part of the annual OPIsrael campaign by anti-Israel hackers, aimed at disrupting Israel's critical infrastructure. | https://www.jpost.com/israel-news/article-738790
Attacks against rail control systems in Poland | Transport | 2023 | Low | Regional | Poland | Hacktivists | Two men, aged 24 and 29 | Wireless Compromise | Not used | Manipulation of Control | Communication Authenticity, Encrypt Network Traffic, Access Management | On August 25 and 26, more than 20 trains in Poland were brought to a halt by apparent supporters of Russia using a simple radio-stop command. This sabotage involved broadcasting a series of three acoustic tones at a 150.100 megahertz frequency, which triggered the emergency stop function of the trains. The saboteurs included the Russian national anthem and parts of a speech by President Vladimir Putin in their broadcasts. Polish media and the BBC described the incidents as a cyberattack, though it did not involve any sophisticated cyber techniques. The attack exploited the lack of encryption or authentication in Poland's railway radio system, which will not be upgraded until 2025. Despite the disruptions, there were no reported injuries or damage, though the incident caused significant operational difficulties. | https://www.wired.com/story/poland-train-radio-stop-attack/ | https://notesfrompoland.com/2023/08/29/policeman-among-those-arrested-over-disruption-of-polands-train-system/
Zaun Limited Compromised via ICS Engineering Workstation | Manufacturing (Fencing Systems) | 2023 | Medium | Specific | UK | Ransomware group | LockBit | Unknown | Not used | Theft of Operational Information | Limit Access to Resource Over Network, Update Software, Data Loss Prevention | Zaun Limited, a British manufacturer specializing in high-security perimeter protection systems, experienced a cyberattack from the LockBit Ransomware group on August 5-6. The breach originated from an engineering workstation running Windows 7 software for a manufacturing machine. Although the company successfully prevented the encryption of their server and continued operations without interruption, it was later confirmed that approximately 10 GB of data was exfiltrated by the attackers. The compromised workstation was removed, and the vulnerability was addressed. Zaun Limited has since worked closely with the National Cyber Security Center (NCSC) and the Information Commissioner's Office (ICO) to mitigate the impact of the breach. | https://ics-cert.kaspersky.com/publications/reports/2024/04/11/h2-2023-a-brief-overview-of-main-incidents-in-industrial-cybersecurity/
Power supply to heating services in Ukraine disrupted by FrostyGoop | Energy | 2024 | High | Regional | Ukraine | Unknown | Not attributed to anyone, although it involved connections to several Moscow-based IP addresses | Exploitation of Remote Services | ICS-Specialised Malware (FrostyGoop) | Loss of View, Loss of Availability, Manipulation of Control | Limit Access to Resource Over Network, Update Software, Data Loss Prevention | In January 2024, a cyberattack using a newly discovered malware called "FrostyGoop" targeted the industrial control systems (ICS) of a municipal energy company in Lviv, Ukraine. This attack disrupted the heating system for 600 apartment buildings, leaving residents without heat for nearly two days during sub-zero temperatures. The attackers gained access by exploiting a vulnerability in a router and used the Modbus communication protocol to send commands that misled the facility's controllers, causing them to falsely report that water was hot when it was actually cold. This resulted in cold water being circulated instead of heated water. | https://www.securityweek.com/frostygoop-ics-malware-left-ukrainian-citys-residents-without-heating/
Hackers cause water system to overflow in Texas | Water | 2024 | High | Regional | US | APT | Sandworm (acting as CyberArmyofRussia_Reborn persona) | Unknown | Unknown | Damage to Property | Limit Access to Resource Over Network, Network Segmentation, Data Backup | A series of cyberattacks targeted small rural towns in Texas, causing significant disruptions to their water systems. In one instance, the attack led to a water system overflow in the town of Muleshoe. The attacks, linked to a Russian hacktivist group called CyberArmyofRussia_Reborn, are part of a broader pattern of foreign cyberattacks on U.S. public utilities. Local officials reported that no public danger resulted from the attacks, as the systems were quickly taken over manually. The incidents have been reported to federal authorities, including the FBI and the Department of Homeland Security, for further investigation. | https://www.texastribune.org/2024/04/19/texas-cyberattacks-russia/ | https://cyberscoop.com/sandworm-apt44-texas-water-facility/
Attack on Moscow OT infrastructure (Fuxnet) | Various | 2024 | High | Regional | Russia | APT | BlackJack APT | Remote Services | ICS-Specialised Malware (Fuxnet) | Damage to Property, Denial of Control, Denial of View, Loss of Availability, Loss of Safety , Loss of view | Antivirus/Antimalware, Data Backup, Network Segmentation | The hacker group called BlackJack, possibly affiliated with Ukrainian intelligence, launched a highly coordinated cyberattack on April 9th against Russian Moscow Moscollector industrial sensor and monitoring infrastructure. This infrastructure is vital for managing the safety and security of Moscow's municipal services, including gas, water, and fire alarms. The attackers deployed Fuxnet malware and disrupted sensors and control systems across various facilities, while deliberately avoiding civilian infrastructure. Additionally, the attack resulted in the physical destruction of about 1,700 sensors and routers. In addition to damaging physical equipment, the attackers wiped 30TB of critical data from servers, including backup drives and most workstations, leaked sensitive data from the Network Operation Center) and defaced Moscollector's website and Facebook account. | https://www.radiflow.com/wp-content/uploads/Fuxnet-attack-on-Russian-infrastructure-1-1.pdf
Kerch Bridge traffic registration and control system hack | Transport | 2024 | Medium | Specific | Ukraine | APT | Defense Intelligence of Ukraine hackers | Unknown | Not used (DoS attack) | Loss of Availability, Loss of Productivity and Revenue | Limit Access to Resource Over Network, Network Segmentation, Data Backup | In temporarily occupied Crimea, hackers from the Defense Intelligence of Ukraine attacked the servers of propaganda media, telecom operators, and the Kerch Bridge traffic registration and control system, according to sources in Defense Intelligence. Due to the attack on the registration and traffic control system, a large queue of vehicles formed, waiting to cross the Kerch Bridge. Within an hour, the traffic jam increased sixfold, with around three hundred cars in line by the morning. | https://newsukraine.rbc.ua/news/defense-intelligence-of-ukraine-hackers-disable-1719504444.html | https://kyivindependent.com/source-military-intelligence-stops-traffic-on-kerch-bridge-collapses-accounting-systems-in-crimea/
Sandworm attack on the Courlandon French mill | Energy | 2024 | Medium | Specific | France | APT | Sandworm | Unknown | Not used | Negligible Impact | Limit Access to Resource Over Network, Network Segmentation, Communication Authenticity | A recent report by Mandiant revealed that the Russian hacker group Sandworm mistakenly targeted a small mill in France, believing it to be a significant hydroelectric dam. This error was part of a broader campaign of cyber sabotage. The mill, located in a village of 300 people, experienced a minor adjustment in water levels controlled remotely by the hackers. Despite their intentions, the mill's physical defenses prevented any significant damage. Sandworm's target was supposed to be the Courlon-sur-Yonne dam, a critical node in France's hydroelectric infrastructure. Instead, they hit a small mill in Courlandon used for minor electric production. The confusion likely resulted from misinterpreting geographic data and relying on online platforms like Yandex for reconnaissance. The intended target plays a crucial role in the regional power grid, where disruptions could have caused substantial electricity supply issues. | https://www.defensorum.com/misguided-cyber-operation-french-mill-incident/ | https://www.lemonde.fr/en/pixels/article/2024/04/17/how-sandworm-russia-s-elite-hackers-attacked-a-small-mill-instead-of-dam-they-targetted_6668731_13.html
US wind farm infected with cryptojacking malware | Energy | Unknown | Medium | Specific | US | Unknown | Unknown | Unknown | Cryptojacking malware | Negligible Impact | Antivirus/Antimalware, Update Software, Access Management | A small wind farm operator contacted Dragos, a cybersecurity company specialising in industrial control systems (ICS), because they suspected their systems were compromised. The wind farm's network had begun patching itself, an unusual behavior that prompted the company to seek expert help. When Robert M. Lee, the CEO and founder of Dragos, investigated the incident, he discovered that the systems were compromised with crypto-jacking malware, which was using the turbines' computing power to mine Bitcoin. Surprisingly, the attackers were regularly patching the systems to keep other malware out. Despite the risks, and against the advice from Dragos, the wind farm's management decided to leave the malware in place because the attackers' maintenance was more effective than their own IT department's efforts. This decision was driven by the company's limited resources and the lack of impact on their operations. | https://darknetdiaries.com/transcript/22/